## Field Data Entry Sheet
Field Data Entry Sheet |  |  |  | Enter your guesses in these boxes first! | [6 empty] | Fecal | General
[8 empty] | pres- | turbidity | P/A | guess | guess
Code | Date & time | Exact location | Conditions, appearance, |  |  |  | Bottle | sure | NTU | Coliscan | Time | inc.
| mm/dd/yy hh:mm |  | odor, rainfall, etc | Hardness | Flow | Temp | # | psi |  | mL | plated | temp
UW1 | 2003-06-09 13:06 | Mark's water bottle | West cammino well water in nalgene bottle. Bottle is | 500 | na | 65 |  |  | 0.75 |  | 0 | 1000
5 years in use, six months since last wash (he washes it when it starts to smell bad)
UW2 | 13:58 | Community pool outlet, 6" below surface | Approx 64°, overcast ceiling, light drizzle all day | 700 | 25gpm | 60 |  |  | 0.5
wind 0, humidity 95%, water crystal clear, probably no swimmers since last time Art went in three days ago. | [8 empty] | 0.3

## Computer Data Entry Sheet
1 | 1904-01-05 | 2 | 3 | 9 | 9 | 6 | 7 | 8 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 26 | 27 | 28 | 29
all all all allall allall allall allall allall allall all | all all all allall allall allall allall allall allall all | all all all allall allall allall allall allall allall all |  |  |  | all
turbidity turbidity turbidity | turbidity turbidity turbidity | turbidity turbidity turbidity turbidity turbidity tuturbidity turbidity turbidity turbidity turbidity turbidityrbidity |  | turbidity turbidity turbidity | turbidity turbidity turbidity | turbidity turbidity turbidity |  | turbidity turbidity turbidity | turbidity turbidity turbidity | turbidity turbidity turbidity | turbidity turbidity turbidity | turbi
P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A | P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A | P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A |  |  |  | P/A | [6 empty] | P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A | P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A | P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A | P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A | P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A P/A | P/A
Coliscan Coliscan Coliscan | Coliscan Coliscan Coliscan | Coliscan Coliscan Coliscan |  |  |  | Coli | [6 empty] | Coliscan Coliscan Coliscan | Coliscan Coliscan Coliscan | Coliscan Coliscan Coliscan | Coliscan Coliscan Coliscan | Coliscan |  | Coliscan Coliscan Coliscan | Coliscan Coliscan Coliscan | Coliscan Coliscan Coliscan | Coliscan Coliscan Coliscan | Coliscan Coliscan Coliscan | Coliscan Coliscan Coliscan | Coliscan Coliscan Coliscan | Coliscan
P/A
Coliscan
Computer Data Entry Sheet | [17 empty] | P/A | Blue/Purp |  | Pink |  | Spread
[9 empty] | pres- | de- | [8 empty] | F coli |  | G coli |  | W | P | E coli/ | G coli/
Code | Date & time | Exact location | Conditions, appearance, | ppm | °C |  |  | Bottle | sure | gassed? |  | NTU |  | Time | inc. | Count | Count |  |  | factor |  | factor | Sur | Sub
Examples:
156 | 2002-01-17 11:00 | Uppermost spring | Clear sky, clear water; P/A, C, T |  |  |  |  | 6 | 0 | n | 0.5 | 0.16 | 2.5 | 15:00 | 98 | 2002-01-19 | 14:00 | G | 0 | 1 | 16 | 1 |  |  | 0 | 640
158 | 2002-01-17 12:25 | Bedrock spring | Clear sky, clear water; P/A, C, T |  |  |  |  | 6 | 0 | n | 1 | 0.58 | 2.5 | 15:00 | 98 | 2002-01-19 | 14:00 |  | 0 | 1 | 4 | 1 |  |  | 0 | 160
168 | 2002-01-25 18:19 | Treated Spring test tap | P/A no MUG; overflow starte between 16:00 and 18:00 |  |  | 3.12 |  | 5 | 0 | n |  | 1.6 | 7 | 19:25 | 94 |  |  | A | 0 | 1 | 4 | 1 |  |  | 0 | 57.1429
169 | 2002-01-26 08:01 | U/C springs at treated tank test tap | P'A no MUG - 50 mL; C; T; |  |  | 3.02 |  | 5 | 0 | n |  | 0.51 | 5 | 9:38 | 94 | 2002-01-28 | 11:30 | G | 0 | 1 | 0 | 1 |  |  | 0 | 0
169 | 2002-01-26 08:01 | U/C springs at treated tank test tap | MF (plated 1/27/02 13:15 after refrigeration) | [9 empty] | 100 | 13:15 |  | 2002-02-01 | 11:00 |  | 0 | 1 | 4 | 1 |  |  | 0 | 4
169b | 2002-01-26 | U/C springs at treated tank test tap | I believe pipe adds turbidity to initial flow, high flow. Left tap on high. |  |  | 10g/m |  | 5 | 0 | n |  | 1.55 | [6 empty] | 0 | 1 | 2 | 1 |  |  | #DIV/0! | #DIV/0!
170 | 2002-01-26 08:31 | U/C springs at raw tank test tap | C/T |  |  |  |  | 5 | 0 | n |  | 1.55 | 5 | 9:40 | 94 | 2002-01-28 | 11:30 |  | 0 | 1 | 7 | 1 |  |  | 0 | 140
173 note 1/28/2002 5:26 am opened spring line drain | [12 empty] | 5 |  |  | 2002-01-30 | 11:00 |  | 0 | 1 | 29 | 56.7 |  |  | 0 | 32886
173 | 2002-01-28 05:26 | Spring line drain | T/C Water stored in pipe, brown, presumed from a few hours of runoff yesterday, + dislodged crud from rapid pipe flush. A few 1mm± chunks of rust visible, most material is fine. |  |  | 150 |  |  | 150 | y-time | 30 | 353
174 | 2002-01-28 05:34 | Spring line drain | T/C Same as 174 but less flow - C too numerous to count |  |  | 25 |  |  | 150 | y-time | 20 | 183 | 5 |  |  | 2002-01-30 | 11:00
174 note | 2002-01-28 05:35 | Spring line drain | T/C Same as 174 but less flow, flow suddenly stable |  |  | 5
175 | 2002-01-28 05:41 | Spring line drain | Water suddenly much clearer; presumed to be current flow from spring. |  |  | 3 |  |  | 0 | y-time | 1.8 | 5.44 | 2.5 |  |  | 2002-01-30 | 11:00 |  | 0 | 1 | 41 | 2 |  |  | 0 | 3280
175note | 2002-01-28 05:42 | Shut spring line drain.
Red | Suspect datum or result
Italic | Guesstimate
A | Scratched turbidity sample bottle
B | Hard to draw line between colonies of too small size or too light pink color
C | Coliform test
T | Turbidity test
P/A | Presence Absence test (with MUG)
Multipliers

## ColiformStandardsConversions
Standards, unit conversions, and examples of Fecal Coliform levels in water
| Conventional |  |  |  |  | Approximate conversion
| units (under- | Conversions to new novice user-friendly units |  |  |  | to units understandable
| standable only |  |  |  |  | by other scientists |  | g feces/
| to microbiologists) | Buttwipes/ |  | Turds per |  | mg feces | g feces/ | swimming pool
| Fecal coliforms/ | swimming | Buttwipes/ | swimming | Buttwipes/ | /m3 water | m3 h20 | =g feces/
| 100 ml | pool | Bathtub | pool | bottle | ppb feces | ppm feces | 100 m3
Typical first world standards
For drinking water general coliforms are to be less than 1 per 100 ml | 1 | 1 | 0.001 |  |  | 1 | 0.001 | 0.1
| 10 | 10 | 0.01 | 0.001 |  | 10 | 0.01 | 1
Surface water in watershed for unfiltered drinking | 50 | 50 | 0.05 | 0.005 | 0.0005 | 50 | 0.05 | 5
Shellfish growing waters | 70 | 70 | 0.07 | 0.007 | 0.0007 | 70 | 0.07 | 7
Full contact/swimming. Many bathtubs probably are out of compliance | 200 | 200 | 0.2 | 0.02 | 0.002 | 200 | 0.2 | 20
| 1000 | 1000 | 1 | 0.1 | 0.01 | 1000 | 1 | 100
Partial contact/boating, same as for treated sewage discharge | 2000 | 2000 | 2 | 0.2 | 0.02 | 2000 | 2 | 200
Sample measurements
Typical level in chlorinated waters I've tested | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Level often found in water used untreated for drinking in third world | 100 | 100 | 0.1 | 0.01 | 0.001 | 100 | 0.1 | 10
Level in crystal clear CA river water we swam in all day…no issues | 2500 | 2500 | 2.5 | 0.25 | 0.025 | 2500 | 2.5 | 250
First flush puddle of urban runoff in center of Mexican village | 3360 | 3360 | 3.36 | 0.336 | 0.0336 | 3360 | 3.36 | 336
Typical greywater readings from Arizona greywater study | 4000 | 4000 | 4 | 0.4 | 0.04 | 4000 | 4 | 400
High reading from Arroyo Burro beach in Santa Barbara. | 10000 | 10000 | 10 | 1 | 0.1 | 10000 | 10 | 1000
First flush of river in Michoacan, Mexico, after seven month dry season | 25600 | 25600 | 25.6 | 2.56 | 0.256 | 25600 | 25.6 | 2560
Level in bath water according to CA Dept Health services study | 400000 | 400000 | 400 | 40 | 4 | 400000 | 400 | 40000
Raw sewage | 5000000 | 5000000 | 5000 | 500 | 50 | 5000000 | 5000 | 500000
Pure feces | 3000000000 | off the top of the scale |  |  |  | 1000000000
Wow…it's safe to swim in natural waters containing the equivalent of 200 buttwipes per swimming pool?--
Oh, I see; that's only 0.002 buttwipes per bottle of water. If a buttwipe is 0.1 grams and you sip a milliliter of water while swimming, that's a ten millionth of a gram of poop--not so bad.
How can the California department of health services maintain a straight face while claiming there are 400 buttwipes per bathtub of greywater (four grams of feces)!?
Perhaps their test subjects must have an unconventional way of using a bathtub.
The Arizona Water Conservation Alliance found around 4,000. At a pretty slimy shower stall in Mexico I measured 2,000. I guess the users were more careful?
Yuck!--raw sewage is like 500 turds in a swimming pool!
Unit derivation notes for the scientifically inclined:
The numbers were jiggled so the alternate units were even orders of magnitude. In some cases the number used was close to the middle of the range, in others it was off
by 30% or more. Some authorities put the number of fecal coliforms in 100 ml of pure human feces at 3,000,000,000, for an overall error of a factor of three in the conversion.
Does this mean these alternative units are suspect? Yes. However, if you compare this to the amount of imprecision built into the use of mammalian fecal coliform bacteria as an indicator
of the chance of infection in humans (the thing we actually care about), it is of little consequence.
assumed:10 million fecal coliforms per gram of wet feces (dog=23 million, human 13 million, pig 3.3 million, cow a quarter million...)
assumed: 100 m3 water per swimming pool (a typical swimming pool is more like 75 m3
assumed: an average buttwipe is 0.1 gram (extensive research and literature search revealed this to be true-just kidding. The one buttwipe measured was 0.13 grams.
assumed: bowl movement is 1000g (one source gave 1113g as the average daily production of feces)
assumed: a bath is 100 L; this is about 8" of water in an average bathtub. Full capacity is about twice this, depending on the displacement of the bather(s).
| Buttwipes/ |  | Turds per
1 turd=10,000 buttwipes=1000g feces= 2.2 pounds feces | swimming | Buttwipes/ | swimming | buttwipes/
1 large swimming pool = 1000 bathtubs=100,000 one liter bottles | pool | Bathtub | pool | bottle
= 26,600 gallons | =.1 g/ | .1 g/ | =1000 g feces/ | 0.1g/
| 100m3 | 100 L | 100 m3 | 1L
|  |  | 400000 | mg/ 1000l
|  |  | 100 | Liters pers shower; ten minutes at 10 l a minute
|  |  | 4000 | mg/ shower
|  |  | 4 | grams/ shower;
|  |  | 400 | buttwipes per shower

## EG-MexicoBeach
EXAMPLE: Indigenous community in Mexico
[9 empty] | Purp |  | Pink |  | Blu/grn |  | White |  | Spread
| Location, exact location, weather | [7 empty] | F coli |  | G coli |  | Enterobacteriaceae |  |  |  | W | P | E coli/ | G coli/ | Ent/
| turbidity, color, odor, context, uses |  |  |  | Time |  | Count | Count |  | factor |  | factor | Sur | factor | Sur | factor | Sur | Sub
Code | Intuitive sense | mL | Date | Time | plated | temp | date | time | 1&2 |  | 3&4 |  | 5&6 |  | 7 |  | 9 | 10 | 100mL | 100mL | 100mL
Rain, Runoff
M19 | Rain-First roof wash | 5 | 1999-06-25 | 3:42am | 5 hrs | 78 | 1999-06-26 | 12:00 | 1 | 1 | 60 | 36 |  | 1 |  | 1 |  | h | 20 | 43220 | 0 | not such a great count
| Storage area roof, corrugated felt, 4:12 pitch, no branches above, first 10 min of first rain in several days? | [7 empty] | ±% |  | ±% | a | ±% |  | ±% |  | ±%
| This water felt like it was getting clean, though not the roof not yet rinsed enough. There is much less dust in the rainy season. | [8 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | 0 | 0 | 0
| This sample was put in the coliscan while there was still a piece of ice in it. Agar folded over while evacuating first lab | [7 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
M28 | Rain-Emilio's Gutter | 100 | 1999-06-26 | 11:15 | 20min | 76 | 1999-06-27 | 10:23 | 15 | 1 | 23 | 18 | 6 | 1 | ? | 1 |  |  | 15 | 429 | #VALUE!
| After 20cm rain on cement tiles. Was being collected in small bucket for dishwashing. | [7 empty] | ±15% |  | ±30% |  | ±50% |  | ±% |  | ±%
| Looked sort of clean, not completely. I'd would have drank a bit if pressed, as it was rinsed by a LOT of rain and has good pitch, low traffic. Considerable sediment visible on filter; cement roof particles? | [8 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | 0 | 0 | 0
| Touched back side of cotton with thumb by accident, but no extra colonies seemed to sprout in this area. | [7 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
M29 | Rain-Phone caseta roof | 100 | 1999-06-26 | 11:30 | 10min | 76 | 1999-06-27 | 10:23 | 3 | 1 | 24 | 18 | 6 | 18 |  | 1 |  |  | 3 | 435 | 108
| Same time as M28. Cement slab roof. Some junk stored on top. Ladder on side; probably occasional traffic for phone antenna. | [7 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
| No particles. |  |  |  |  | adj. for false positives on confirmation |  |  | 0 | 1 | 24 | 18 | 6 | 18 |  | 1 |  |  | 0 | 432 | 108
[9 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
M27 | Rain-Natural surface runoff | 0.5 | 1999-06-26 | 10:00 | 60min | 79 | 1999-06-27 | 10:10 | 30 | 4 | 29 | 36 | 6 | 4 | 23 | 36 |  |  | 24000 | 232800 | 170400
| After downpour. collected 10 cm from Neighbor's spring. Fenced 10 m up hill, then lots of animal traffic just outside fence. | [6 empty] | a,b | ±20% |  | ±30% |  | ±15% |  | ±30% |  | ±%
| This runoff was flowing right into the spring. Light yellow-straw color (1/2 urine color), low ss. | [8 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | 0 | 0 | 0
| Collected in used cooking oil bottle after ten rinses. | [7 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
M24 | Rain-urban runoff-Puddle on side of soccer field | 0.0714 | 1999-06-25 | 10:30 | 20min | 82 | 1999-06-26 | 12:30 | 6 | 4 | 31 | 36 | 2 | 4 | 17 | 36 |  |  | 33613.4454 | 1596638.6555 | 868347.3389
| After first 3 cm rain in two weeks; the second flush of 7 months of accumulated pig feces, greywater...Big brown puddle | [7 empty] | ±20% |  | ±25% |  | ±20% |  | ±30% |  | ±%
| Felt truly evil. Many nearly naked kids running barefoot over broken glass, rolling tires | [8 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | 0 | 0 | 0
| which were spinning this stuff in all directions. They looked fully alive, healthy, happy. Collected by Emilio. 0.25 ml=7 drops, 2 drops used. | [7 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
Wells, pit
M1 | Well, pit-community drinking & cooking | 5 | 1999-06-23 | 13:00 | <10min | 90 |  |  | 3 | 1 | 47 | 1 | 4 | 1 | 12 | 36 |  |  | 60 | 1000 | 8720 | These fecals unconfirmed
| Fenced pit hand dug 1.5 m well with bottomless 2 gal galv bucket In regular use; water preferred by villagers for cooking, hot drinks, | [7 empty] | ±% |  | ±% |  | ±% |  | ±% | 15 | ±%
| and drinking, supposedly after boiling. Crystal clear. Accidentally kicked in 0.5 g sand before last ML water. | [8 empty] | 1 |  | 1 |  | 1 |  | 1
| Upriver from palapas, Geometry (funnel channeling debris into water) funky but water crystal clear; I'd drink it if I had too. | [7 empty] | ±% |  | ±% |  | ±% |  | ±% | 15
M14 | Well, pit-communal laundry/ dish pit in river bed | 3 | 1999-06-23 | 19:30 | 20 min | 81 | 1999-06-24 | 16:30 | 1 | 1 | 6 | 36 | 23 | 2 | 140 | 36 |  |  | 33.3333 | 7233.3333 | 169533.3333
| Water looked crystal clear, but unrestricted access by grazing animals, etc. made me feel like | [7 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
| washing dishes was as close as I'd ever want to get to drinking this water. | [8 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | 0 | 0 | 0
[9 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
M35 | Well, pit-Freshly re-dug community drinking & cooking | 3 | 1999-06-26 | 21:00 | 21:37 | 75 | 1999-07-28 | 15:00 | 0 | 1 | 37 | 4 | 1 | 1 | 8 | 36 |  |  | 0 | 4933.3333 | 9633.3333
| About 4 m from chocolate river, 3 m from old well, which, when the groundwater level rose, filled with light brown foamy water. | [5 empty] | refrig. 7/27 20:00 |  | ±% |  | ±% |  | ±% |  | ±% | b | ±%
| The water looked clear and was being collected for drinking (after boiling, they said) by several villagers. | [8 empty] | 1 |  | 1 |  | 1 | 29 | 1 |  |  | 0 | 0 | 966.6667
| I felt very leery of this water due proximity to the river; people waded through, then stood with dripping legs right by the 2 gal galvanized bottomless bucket which was the water container. | [7 empty] | ±% |  | ±% |  | ±% |  | ±% | l | ±%
Wells, corrugated steel lined
M2 | Well-water from Nati's well | 5 | 1999-06-23 | 13:00 | <10min | 90 | 19 hrs |  | 1 | 1 | 30 | 36 | 3 | 1 | 90 | 36 |  |  | 20 | 21620 | 64860 | a,b, d
| at hose stream at laundry pila. Used for laundry, bathing, toilet handwash, some dishwash. |  |  |  |  | 72° |  |  | +0-1 |  | ±% | 15 | ±% |  | ±% | 30 | ±%
| Water in 70 cm deep in pila itself looked slightly milky; hose flow looked fine (of course) | [8 empty] | 1 |  | 1 |  | 1 |  | 1
I didn't like the look of this for drinking.
M4 | Well-water in Nati's kitchen Pila | 5 | 1999-06-23 | 1:30 | <10min | 90 |  |  | 0 | 1 | 30 | 36 | 0 | 1 | 90 | 36 |  |  | 0 | 21600 | 64800 | a,b
| Appeared to not be in very regular use but had been recently for dishes, meat washing, etc. | [7 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
| It felt better than the laundry pila, worse than the community well. | [8 empty] | 1 |  | 1 |  | 1 |  | 1
[9 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
M20 | Well-from pila of Don Anarato's | 5 | 1999-06-24 | 19:44 | <10min | 82 | 1999-06-25 | 21:00 | 0 | 1 | 16 | 36 | 10 | 1 | 40 | 36 |  |  | 0 | 11520 | 29000
| Bucket w/ rope lost in bottom. Electric pump, crud in well. | [7 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
| Used continually for dishwashing, laundry, bathing. Pila full, clear. | [8 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | 0 | 0 | 0
| Didn't look that great to me; I'd definitely prefer my dishes to be dry first, though sometimes they weren't | [7 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
M16 | Well-Emilio's house | 5 | 1999-06-24 | 21:00 | 10min | 82 | 1999-06-25 | 21:00 | 11 | 1 | 16 | 36 | 20 | 1 | 200 | 36 |  |  | 220 | 11740 | 144400
| From bucket on rope & roller; they said it was dirty, but it didn't look too bad. | [7 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
| This is one of the better made and sealed wells. They have been using it only when water is not | [8 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | 0 | 0 | 0
| coming down from the spring. The water did feel less clean than from the pipe; I definitely wouldn't like to drink it. | [7 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
Springs-waters originating at El Chorrito, before rains
M7 | Spring-Neighbor's hand-cut depression | 5 | 1999-06-23 | 16:40 | 45r | 84 | 1999-06-24 | 9:00 | 2 | 1 | 6 | 4 | 0 | 1 | 56 | 36 |  |  | 40 | 520 | 40320
| 30 cm diameter, 25 cm deep hand cut well in solid rock, overflowing by springs through cracks in sides at approx. 5 lpm. | [7 empty] | ±% | c | ±% |  | ±% |  | ±% |  | ±%
| Sample taken from middle 5 cm below surface. Sides damp w/ first 20 min light rain, no runoff. | [8 empty] | 1 |  | 1 |  | 1 |  | 1
| Water crystal clear; felt good but highly subject to catching surface runoff and debris falling down slope. | [7 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
Ineffective wooden lid. I'd hesitate to drink it unless it were regularly bailed out and cleaned, or remade more protected from runoff. I'd drank a small amount.
M8 | Spring-El Chorrito-Old springbox tap | 100 | 1999-06-23 | 17:00 | 45r | 84 | 23 hrs |  | 3 | 1 | 22 | 18 | 5 | 1 | 62 | 18 | 0 | 0 | 3 | 399 | 1121
| 1" tap a few feet from 6x5m funky concrete springbox, recently repaired and sealed as well as possible | [7 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
| but still subject to surface water contamination. | [8 empty] | 1 |  | 1 |  | 1 |  | 1
| I'd been drinking the water with some confidence (but with some minor symptoms) after sealing and before rains. | [7 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
M9 | Spring-El Chorrito-New springbox | 100 | 1999-06-23 | 17:00 | 45r | 84 | 23 hrs |  | 3 | 1 | 22 | 18 | 5 | 1 | 62 | 18 | 0 | 0 | 3 | 399 | 1121 | a
| Pool inside, immediately before outlet. Freshly built 1 x 1 x 7 m horizontal well in swampy area, in newly | [7 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
| disturbed soil in newly fenced area formerly frequented by grazing animals. Lid still had not been placed | [8 empty] | 1 |  | 1 |  | 1 |  | 1
| in rear. Has been through 1 heavy rain this season. I'd drink the water with confidence in the dry season, take it off line in the wet season. | [7 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
M18 | Springs-Storage tank at crossing | 150 | 1999-06-24 | 21:45 | 1 hr | 82 | 1999-06-25 | 21:00 | 17 | 1 | 18 | 1 | 12 | 1 |  | 1 |  |  | 11.3333 | 23.3333 | 8
| Tank had just drained, and this sample was from incoming water which crossed the floor and pooled | [7 empty] | ±% | ? | ±% |  | ±% |  | ±% |  | ±% |  | False +
| at the outlet. Looked and felt clean, though I don't know if I'd drink it with enthusiasm. | [5 empty] | 1999-06-27 | 10:34 | 0 | 1 | 18 | 41 | 12 | 1 |  | 1 |  |  | 0 | 492 | 8
| In found bottle, well-rinsed with H202. Also put h2o2 on pad in MF unit. |  |  |  |  | Adj. false pos on conf. |  |  | ±% |  | ±% | ?? | ±% |  | ±% |  | ±%
M17 | Spring-Pipe from El Chorrito at Emilio's Pila | 5 | 1999-06-24 | 21:00 | 15 min | 82 | 1999-06-25 | 21:00 | 1 | 1 | 8 | 1 | 0 | 1 |  | 1 |  |  | 20 | 180 | 0 | i
| Last dribbles from hose; they'd just shut valve at the big pila, and had just filled the | [7 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
| pila, so this is probably about as well-cleaned as the pipe gets. | [5 empty] | 1999-06-26 | 12:00 | 3 | 1 | 9 | 36 | ? | 1 | 6 | 36 |  | h | 60 | 6540 | #VALUE!
| This water felt clean, though not for drinking. All bacteria in middle 1/2 of radius of plate-why? | [6 empty] | h | +0-3 |  | ±% |  | ±% |  | ±% |  | ±%
M6 | Spring fed creek outside fence | 5 | 1999-06-23 | 16:45 | 45min r | 82 | 1999-06-24 | 19;00 | 7 | 4 | 30 | 36 | 60 | 36 |  | 1 |  |  | 560 | 22160 | 43200 | a
| Taken from flow just before papaya farm diversion pool. Crystal clear, but animal feces visible on sides and in water. | [7 empty] | ±% |  | ±% | e | ±% | e | ±% |  | ±%
| water. No rain 36 hours, light rain just starting but no runoff yet. | [8 empty] | 1 |  | 1 |  | 1 |  | 1
| I felt no hesitation stepping in this water or washing hands, but would hate to drink it. | [7 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
Springs-waters originating at El Chorrito, after moderate rain
M21 | Spring-Old springbox | 5 | 1999-06-25 | 10:00 | 30min | 80 | 1999-06-25 | 12:00 | 2 | 1 | 15 | 36 | 0 | 1 | 18 | 36 |  | h | 40 | 10840 | 12960
| 5 hrs after finish of about 3 cm rain. | [7 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
[10 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | 0 | 0 | 0
[9 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
M22 | Spring-New horizontal well | 5 | 1999-06-25 | 10:00 | 30min | 80 | 1999-06-26 | 12:00 | 15 | 1 | 31 | 4 | 1 | 1 | 22 | 36 |  |  | 300 | 2780 | 15860
| 5 hrs after finish of about 3 cm rain. | [7 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
[10 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | 0 | 0 | 0
[9 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
M23 | Spring-Community storage tank | 5 | 1999-06-25 | 10:30 | 20min | 82 | 1999-06-26 | 12:00 | 26 | 4 | 12 | 36 | 12 | 4 | 61 | 36 |  | h | 2080 | 10720 | 44880
| including all runoff from 2 hr rain | [7 empty] | ±20% |  | ±30% |  | ±% |  | ±30% |  | ±%
[10 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | 0 | 0 | 0
[9 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
Springs-waters originating at El Chorrito, after heavy rain
M25 | Spring-Old springbox during heavy rain | 4 | 1999-06-26 | 10:00 | 60min | 78 | 1999-06-27 | 10:00 | 16 | 8 | 15 | 144 | 3 | 8 | 25 | 144 |  |  | 3200 | 57200 | 90600
| During heavy rain (2-3 cm/hr) after about 20 cm of rain overnight. | [6 empty] | a, b | ±20% |  | ±25% |  | ±50% |  | ±50% |  | ±%
| About 1.5-2x normal flow. appeared clear. No evidence of runoff entering, however runoff clearly ran over the top in quantity. | [8 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | 0 | 0 | 0
| I'd be real nervous about drinking this due to near certainty of some surface runoff entering., lots of animals just outside fence 10 m uphill. | [7 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
M26 | Spring-New horizontal well during heavy rain | 4 | 1999-06-26 | 10:00 | 60min | 78 | 1999-06-27 | 10:04 | 16 | 4 | 16 | 36 | 2 | 1 | 27 | 36 |  |  | 1600 | 16000 | 24350
| Same as m25 except no surface runoff in vicinity, flow at least double. Water clear. | [6 empty] | b, | ±10% |  | ±20% |  | ±10% |  | ±25% |  | ±%
| There was plywood over back access hole. | [8 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | 0 | 0 | 0
| No runoff in natural channel above. Small watershed? Agar folded in about 10% of area. | [7 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
Greywaters
M5 | Greywater-Nati's kitchen, Laundry outlet | 0.25 | 1999-06-23 | 2:00 | <10min | 90 |  |  | a | 1 | a | 1 | a |  | a | 1 |  |  | #VALUE! | #VALUE! | #VALUE!
| in mid trench in old greywater slimepit. Cloudy grey, mildly anaerobic, green filimentacious algae, | [7 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
| strong anaerobic smell when pigs wallow. This water looked pretty evil. I would step in it only under duress. | [8 empty] | 1 |  | 1 | 45 | 1 |  | 1
[9 empty] | ±% |  | ±% |  | ±% | l | ±% |  | ±%
M33 | Greywater from shower stall | 0.09375 | 1999-06-26 | 19:00 | 21:29 | 75 | 1999-07-28 | 16:00 | 2 | 1 | 25 | 72 | 1 | 36 | a | 36 |  |  | 2133.3333 | 1922133.3333 | #VALUE!
| at Nati's. This poorly constructed shower has stagnant pools inside, which felt like a breeding ground and also smelled a bit dank. | [7 empty] | ±% | a,b | ±% |  | ±% |  | ±% |  | ±%
| For greywater it looked pretty good-pipe is only 30 cm from stall to mulch basin. | [8 empty] | 1 |  | 1 |  | 1 | 10 | 36 |  |  | 0 | 0 | 384000
| Used for irrigation; looked great for that. Used 3 drops. 8 drops=.25 ml. 2ml sediment (sand) on bottom of sample container. | [7 empty] | ±% |  | ±% |  | ±% |  | ±% | l | ±%
River
M15 | River-First flash flood | 0.25 | 1999-06-23 | 22:30 | <10min | 78 | 1999-06-24 | 16:30 | 16 | 4 | a | 1 | a | 1 | a | 1 |  |  | 25600 | #VALUE! | #VALUE!
| 45 minutes after first front of water passed (unnoticed in dark). River went from dry bed to over 30 m wide | [7 empty] | ±% | a | ±% |  | ±% |  | ±% |  | ±%
| and average 25 cm deep. The river does not normally come down until october. This first flush cleared seven dry | [8 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | 0 | 0 | 0
| season months worth of human and animal feces in a swath a few dozen meters wide by a few dozen km long. | [7 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
Dark chocolate brown, visibility less than 1 mm. Maybe it was our imagination, but our legs tingled after fording.
M31 | River-Second flush | 0.0357 | 1999-06-26 | 19:00 | 21:18 | 75 | 1999-07-28 | 16:00 | 7 | 1 | 24 | 36 | 7 | 1 | a | 1 |  |  | 19607.8431 | 2439775.9104 | #VALUE!
| Looked like melted chocolate, just like first flush. 1mm visibility. Lots of ss. | [7 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
| Tingly hot legs after numerous crossings, though maybe psychosomatic. | [8 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | 0 | 0 | 0
| This stuff looks super nasty; I washed my legs after. | [7 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
M32 | River-Second flush, minus sediment | 0.0357 | 1999-06-26 | 19:00 | 21:23 | 75 | 1999-07-28 | 16:00 | 8 | 1 | 15 | 36 | 1 | 36 | a | 1 |  |  | 22408.9636 | 1535014.0056 | #VALUE!
| Same as M31 except allowed to settle for one hour. | [7 empty] | ±% |  | ±% | a | ±% |  | ±% |  | ±%
[10 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | 0 | 0 | 0
[9 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
Beaches
M10 | Beach-Nude beach | 5 | 1999-06-23 | 19:13 | 10min | 81 | 1999-06-24 | 19:02 | 0 | 1 | 9 | 4 | 4 | 1 |  | 1 |  |  | 0 | 720 | 80
| Taken in 1 m deep water in a state of extreme wave agitation (3 m closed out shorebreaks); water was turbid, | [7 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
| and depth ranged from minus 0.5 m to 1 m in this spot every minute. The whole beach felt | [5 empty] | 1999-06-25 | 9:00 | 1 | 1 | 52 | 4 | 14 | 1 | 86 | 4 |  |  | 20 | 4180 | 7160
| very clean to me, and seemed to be upcurrent of the contamination from Mauruata. I didn't worry about | [7 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
drinking little bits or carrying it around in my ears. No trash, little organic debris on this beach.
M11 | Beach-Middle beach | 5 | 1999-06-23 | 19:30 | 30 min | 81 | 1999-06-24 | 19:02 | 1 | 1 | 6 | 1 | 2 | 1 | 43 | 4 |  |  | 20 | 140 | 3480
| Taken in 1 m deep water. This beach is normally calm enough for distance swimming | [7 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
| but had 2 m waves this day. Felt and looked clean but not as clean as nude beach. | [5 empty] | 1999-06-25 | 9:00 | 3 | 1 | 42 | 4 | 2 | 1 | 64 | 4 |  |  | 60 | 3420 | 5160
[9 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
M12 | Beach-Long beach | 2 | 1999-06-23 | 19:30 | 90min | 81 |  |  | 2 | 1 | 200 | 2 | 0 | 1 | 300 | 2 |  |  | 100 | 20100 | 30000
| 50 paces from estuary inlet. This beach had 1.5 m waves, looked and felt much dirtier than others. | [7 empty] | ±% |  | ±% | ?a | ±% |  | ±% | ?a | ±%
| The water was turbid with organic debris and fine black sand. Numerous palapas directly on the beach, | [8 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | 0 | 0 | 0
| fishing boats, dead fish, vultures all around. I didn't particulary want to get into the water, but when my daughter did I got into it and enjoyed it. | [7 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
M13 | Beach-Estuary | 1 | 1999-06-23 | 19:30 | 120min | 81 | 1999-06-24 | 16:30 | 4 | 1 | 20 | 4 | 0 | 1 | 34 | 36 |  |  | 400 | 8400 | 122400
| Across from last palapa, in 50 cm water. Visibility 30 cm. Looked and felt dirty, especially if you thought | [7 empty] | ±% | G | ±% |  | ±% |  | ±% |  | ±%
| about the area it drains (the toilet bushes of town) | [5 empty] | 1999-06-25 | 9:00 | 1 | 1 | 20 | 1 | 14 | 1 | 34 | 36 |  |  | 100 | 2100 | 123800
[9 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
M34 | Beach-Nude Beach after day of heavy runoff | 1 | 1999-06-26 | 20:45 | 21:37 | 75 | 1999-07-28 | 15:00 | 3 | 1 | 36 | 4 | 5 | 1 | 26 | 36 |  |  | 300 | 14700 | 94100
| Light brown colored band of runoff-mixed salt water clearly visible along entire coast. | [5 empty] | refrig. 7/27 20:00 |  | ±% |  | ±% |  | ±% |  | ±% | b | ±%
| This beach felt less clean, but still way cleaner than the long beach, which seemed to be downcurrent from the river. | [8 empty] | 1 |  | 1 |  | 1 | 16 | 4 |  |  | 0 | 0 | 6400
| Not so much land debris on beach. We froliced in this water for at least 3 hours in the rain. | [7 empty] | ±% |  | ±% |  | ±% |  | ±% | l | ±%
Bottled Water
M30 | Bottled water-brand new | 150 | 1999-06-26 | 11:45 | 1min | 76 | 1999-06-27 | 10:20 | 0 | 1 | 5 | 1 | 0 | 1 | 0 | 1 |  |  | 0 | 3.3333 | 0
| Used careful sterile technique, except the same white pad reused from beginning. | [7 empty] | ±% |  | ±% |  | ±% |  | ±% | j | ±%
| This is what we and half the villagers were drinking. (the other half drink spring water). | [5 empty] | 1999-06-28 | 15:00 | 0 | 1 | 5 | 1 | 0 | 1 | 26 | 41 |  |  | 0 | 3.3333 | 710.6667
[6 empty] | refrig 12:00-15:00 |  |  | ±% |  | ±% |  | ±% |  | ±% | k | ±%
M3 | Bottled water garafon | 5 | 1999-06-23 | 13:00 | <10min | 90 |  |  | 0 | 1 | 1 | 1 | 0 | 1 | 45 | 72 |  |  | 0 | 20 | 64800
| opened 20 hrs w/ 1cm2 slit in plastic cap | [7 empty] | ±% |  | ±% |  | ±% |  | B±% |  | ±%
| From bottling plant in Tecoman which supplies whole villiage | [8 empty] | 1 |  | 1 |  | 1 |  | 1
| Felt fine for drinking. With continual refilling w/o cleaning, small bottles would develop a "live" taste | [7 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
Notes |  |  | Next time
A | too numerous to get good count |  | for rain samples, note rain intensity.
B | Colonies very small
C | Difficult call
D | Easy call
E | whole plate pink; hard to differnentiate white & pink
r | refrigerated
f | frozen
G | on recount appeared to be blues
h | Funky count-agar folded over while evacuating lab 1
i | early count
j | lots of teeny white colonies
k | these colonies light orange in color!
l | big colony count only

## EG-MexicanMountains
EXAMPLE: General and Fecal coliforms at mountain community in Mexico
|  |  | Coliform test log | [8 empty] | Purp |  | Pink |  | Blu/grn |  | White |  | Spread
E coli/ | G coli/ | Ent/ | [9 empty] | F coli |  | G coli |  | Enterobacteriaceae |  |  |  | W | P
[8 empty] | Time |  | Count | Count |  | factor |  | factor | Sur | factor | Sur | factor | Sur | Sub
100mL | 100mL | 100mL | Code | Location | mL | Date | Time | plated | temp | date | time | 1&2 |  | 3&4 |  | 5&6 |  | 7 |  | 9 | 10
Rain
0 | 4120 | 25920 | H1 | Rain, end of B's copper downspout | 5 | 1999-07-01 | 8:00 | 9:01 | 82 | 1999-07-03 | 9:00 | 0 | 1 | 103 | 2 | 0 | 1 | 36 | 36 |  | 3
at rain water cistern filter, during light rain after 4 day rain, second of season.
Water light straw colored, seemed probably bacteriologically clean but it didn't look like it would taste good.
0 | 800 | 5200 | H8 | Rain- Lavadero tap | 1 | 1999-07-02 | 15:21 |  |  | 1999-07-04 | 12:30 | 0 | 1 | 8 | 1 | 0 | 1 | 52 | 1
|  |  |  | almost all last year's water, plus muddy water from roof repair. | [7 empty] | ±% |  | ±% | 15 | ±% |  | ±% |  | ±%
|  |  |  | Water looked very muddy. | [8 empty] | 1 |  | 1 |  | 1 |  | 1
20 | 12260 | 14640 | H5 | Rain-Tinaco East Roof | 5 | 1999-07-02 | 15:20 |  | 78 | 1999-07-04 | 12:30 | 1 | 1 | 17 | 36 | 3 | 1 | 20 | 36 | 9 | 9
|  |  |  | first flush, 3 min rain (also rained yesterday) | [7 empty] | ±% | 0 | ±% | 30 | ±% |  | ±% | 15 | ±%
Cascada-flows originating at the main Huehuecoyotl waterfall
0 | 580 | 10800 | H12 | Cascada-Outlet drain of Tinaco W | 5 | 1999-07-02 | 21:38 |  |  | 1999-07-04 | 12:30 | 0 | 1 | 29 | 1 | 0 | 1 | 15 | 36 |  | 9
|  |  |  | last of last year's water | [5 empty] | Not clear |  | ±% |  | ±% |  | ±% |  | ±% | 5 | ±% | 20
0 | 100 | 2520 | H11 | Cascada-Llave, kitchen of Svante | 5 | 1999-07-02 | 21:37 |  |  | 1999-07-06 | 18:30 | 0 | 1 | 5 | 1 |  | 1 | 62 | 2 | 2
|  |  |  | last years' water |  |  |  | 7/4 13:00 nothing to count |  |  |  | ±% |  | ±% |  | ±% |  | ±% |  | ±%
0 | 280 | 3280 | H4 | Cascada- Tinaco East inside | 5 | 1999-07-02 | 15:10 |  |  | 1999-07-04 | 12:30 | 0 | 1 | 14 | 1 | 1 | 1 | 40 | 4 | 3
|  |  |  | Nearly full, nearly all last of last year's water, | [7 empty] | ±% |  | ±% |  | ±% |  | ±% | 15 | ±%
|  |  |  | 2m visibility...I'd left this dirty but it had been filled a few times | [8 empty] | 1 |  | 1 |  | 1 |  | 1
0 | 520 | 20160 | H6 | Cascada-Tinaco East to B's kitchen tap (cold) | 5 | 1999-07-02 | 15:11 |  |  | 1999-07-04 | 12:30 | 0 | 1 | 26 | 1 | 0 | 1 | 28 | 36
|  |  |  | light straw colored | [7 empty] | ±% |  | ±% | 5 | ±% |  | ±% | 5 | ±%
0 | 433.3333 | 2466.6667 | H7 | Cascada-Tinaco East to B's hot kitchen tap | 3 | 1999-07-02 | 15:14 |  |  | 1999-07-06 | 18:30 | 0 | 1 | 13 | 1 | 1 | 1 | 35 | 2 | 3 | 2
[8 empty] | 7/4/1999 13:00 nothing to count |  |  |  | ±% |  | ±% |  | ±% |  | ±% |  | ±%
250 | 50650 | 27350 | H3 | Cascada-Man-made pool at bottom of waterfall | 2 | 1999-07-01 | 8:35 | 9:07 | 82 | 1999-07-03 | 9:00 | 5 | 1 | 28 | 36 | 7 | 1 | 15 | 36
|  |  |  | 1m deep h2o, mix of last week's rain, 50 cm vis, dark tea colored... | [7 empty] | ±% |  | 20±% |  | ±% |  | ±% | 20 | ±%
|  |  |  | little mud, a fair bit of plant matter on bottom. | [8 empty] | 1 |  | 1 |  | 1 |  | 1
60 | 8700 | 36120 | H2 | Cascada-light flow | 5 | 1999-07-01 | 8:30 | 9:06 | 82 | 1999-07-03 | 9:00 | 3 | 1 | 12 | 36 | 3 | 1 | 50 | 36 | 3
|  |  |  | First waterfall 7/24, this was the last falling water NOT diverted. | [9 empty] | ±15% |  |  |  | ±30% |  | ±20%
0 | 3440 | 8880 | H13 | Cascada-slow | 5 | 1999-07-05 | 14:42 | 16:20 |  |  |  | 0 | 1 | 43 | 4 | 6 | 1 | 12 | 36 | 6
|  |  |  | 20 lpm? | [7 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
0 | 172800 | 1000 | H14 | Cascada-fast | 5 | 1999-07-06 | 17:40 | 18:20 |  |  |  | 0 | 1 | 60 | 144 | 25 | 2 |  | 1
|  |  |  | 200 lpm? soon after downpour | [7 empty] | ±% |  | ±% | 30 | ±% | 10 | ±% |  | ±%
Wetland (blackwater treatment)
16000 | 2096000 | 3672000 | H10 | Constructed wetland inlet | 0.0125 | 1999-07-02 | 17:00 |  |  | 1999-07-04 | 12:30 | 2 | 1 | 65 | 4 | 0 | 1 | 57 | 8 | 3
|  |  |  | against wall near inlet, water 20 cm down, sample from 25 cm, | [7 empty] | ±1 |  | ±% | 10 | ±% |  | ±% | 30 | ±%
|  |  |  | Cloudy, no odor | [8 empty] | 1 |  | 1 |  | 1 |  | 1
100 | 24100 | 76900 | H9 | Constructed wetland outlet | 1 | 1999-07-02 | 17:00 |  | 70 | 1999-07-04 | 12:30 | 1 | 1 | 30 | 8 | 0 | 1 | 96 | 8 | 1
|  |  |  | against wall near outlet, water 20 cm down, sample from surface | [7 empty] | ±% |  | ±% | 20 | ±% |  | ±% | 20 | ±%
|  |  |  | Looked slightly cloudy, no odor | [8 empty] | 1 |  | 1 |  | 1 |  | 1
Octotitlan springs-water supply for nearby village
40 | 7400 | 5680 | H15 | Chipuilote-spring | 5 | 1999-07-14 | 19:00 |  | 70 | 1999-07-17 |  | 2 | 1 | 46 | 8 | 4 | 1 | 35 | 8
|  |  |  | Drinking water spring-fed pool of Ocotitlan | [7 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
|  |  |  | Just before afternoon rain | [8 empty] | 1 |  | 1 |  | 1 |  | 1
20 | 2020 | 7420 | H16 | Chipuilote-seasonal creek | 5 | 1999-07-14 | 19:00 |  |  | 1999-07-17 |  | 1 | 1 | 25 | 4 | 1 | 1 | 46 | 8 | 2
|  |  |  | Leaf-filled, surface-stagnant pool from which villiage | [7 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
|  |  |  | cistern is filled by 2.5" hose about 1km long. Lots of Chloro bottles, supposedly for laundry, they say. | [8 empty] | 1 |  | 1 |  | 1 |  | 1

## EG-Santa Barbara
EXAMPLE: Santa Barbara coliform test log | [8 empty] | Purp |  | Pink |  | Blu/grn |  | White |  | Spread
| Location, exact location, weather | [7 empty] | F coli |  | G coli |  | Enterobacteriaceae |  |  |  | W | P | E coli/ | G coli/ | Ent/
| turbidity, color, odor, context, uses |  |  |  | Time |  | Count | Count |  | factor |  | factor | Sur | factor | Sur | factor | Sur | Sub
Code | Intuitive sense | mL | Date | Time | plated | temp | date | time | 1&2 |  | 3&4 |  | 5&6 |  | 7 |  | 9 | 10 | 100mL | 100mL | 100mL
SB20 | Drinking fountain spring | 5 | 1999-07-18 | 13:00 | 72hr r | 95 | 1999-07-23 | 12:32 | 0 | 1 | 15 | 1 | 0 | 1 | 33 | 4 |  |  | 0 | 300 | 2640 | Only four big size pinks
| Crack in rock weeping 4 lpm± cool, clear water into 4 cm deep by 30 cm x 10 cm pool. Subject | [7 empty] | ±% |  | ±% | 15 | ±% |  | ±% | 15 | ±%
| to collecting crud falling from hillside, algae growth. Algae, rocks, sand removed by hand every few days | [8 empty] | 1 |  | 1 |  | 1 |  | 1
| as best as possible. I was leery of this water for fear it was acutally creek water seeping through a crack from just a few feet away, but it seems like a very clean spring, if cleaned regularly. | [7 empty] | ±% |  | ±% |  | ±% |  | ±% | 15
SB21 | Waterfall into emerald pool | 5 | 1999-07-18 | 13:00 | 72hr r | 95 | 1999-07-23 | 12:32 | 4 | 1 | 70 | 8 | 0 | 1 | 25 | 36 | 104 |  | 80 | 11280 | 20080 | All
| 50 lpm ± clean, crystal clear flow into pool w/ bottom crystal clear at 2 m. | [7 empty] | ±% |  | ±%b | 30 | ±% |  | ±%ab | 50 | ±%
| I'd drink it if it wearn't a sunny sunday in swimming season, though this is justabove the popular swimming holes. | [7 empty] | 4 | 1 | 24 | 1 |  | 1 | 85 | 4 |  |  | 80 | 560 | 6800 | Big only
[9 empty] | ±% |  | ±% | >.2mm only | ±% |  | ±% | >.5mm only | ±%
SB22 | Community outlet | 5 | 1999-07-18 | 13:00 | 72hr r | 95 | 1999-07-23 | 12:32 | 2 | 1 | 35 | 1 | 0 | 1 | 33 | 36 |  |  | 40 | 740 | 23760 | All
| Taken from 5 cm below surface. Same comment as SB 21, but I'd be more concerned as this is downstream. | [7 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
| Sediment was stirred up to the point of 4 m visibility, but settled again an hour before sample, | [7 empty] | 2 | 1 | 19 | 1 |  | 1 | 22 | 4 |  |  | 40 | 420 | 1760 | Big only
| when 16 people (8 kids) got out of swimming hole. | [7 empty] | ±% |  | ±% | >.2mm only | ±% |  | ±% | >.5mm only | ±% |  |  |  |  | Apparently settling purifies water, even with added contamination of swimming?
SJC25 | Community pool outlet | 5 | 1999-08-02 | 4:45 | 5:25 | 100 | 1999-08-04 | 1:30 | 0 | 1 | 17 | 1 | 0 | 1 | 50 | 8 |  | 1 | 0 | 340 | 8000
[6 empty] | refrigerated since 8/3 eve |  |  |  |  | ±20% |  | ±% |  | ±15% | b | ±%
[10 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | 0 | 0 | 0
[9 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
SJC26 | Community pool bottom | 5 | 1999-08-02 | 4:46 | 5:28 | 100 | 1999-08-04 | 1:30 | 0 | 1 | 31 | 4 | 0 | 1 | 14 | 36 |  | 1 | 0 | 2480 | 10080
[6 empty] | refrigerated since 8/3 eve |  |  | ±% |  | ±% | 20 | ±% |  | ±% | 30 | ±%
[10 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | 0 | 0 | 0
[9 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
SJC27 | Community pool inlet | 5 | 1999-08-02 | 4:48 | 5:30 | 100 | 1999-08-04 | 1:30 | 0 | 1 | 46 | 1 | 0 | 1 | 87 | 8 |  | 1 | 0 | 920 | 13920
[6 empty] | refrigerated since 8/3 eve |  |  | ±% |  | ±% | 25 | ±% |  | ±% | 15 | ±%
[10 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | 0 | 0 | 0
[9 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
SYR28 | White Rock middle of upper pool | 5 | 1999-08-04 | 9:10 | 12:15 | 98 | 1999-08-06 | 17:00 |  | 1 |  | 1 |  | 1 |  | 1 |  |  | 0 | 0 | 0
Used same dropper (rinsed) for all bottles | [8 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
Refrigerated from 9 am | [9 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | 0 | 0 | 0
[9 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
SYR29 | White Rock spring by lower pool | 5 | 1999-08-04 | 9:15 | 12:16 | 98 |  |  |  | 1 |  | 1 |  | 1 |  | 1 |  |  | 0 | 0 | 0
[9 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
[10 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | 0 | 0 | 0
[9 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
SYR30 | White Rock lower pool outlet | 5 | 1999-08-04 | 9:20 | 12:17 | 98 |  |  |  | 1 |  | 1 |  | 1 |  | 1 |  |  | 0 | 0 | 0
[9 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
[10 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | 0 | 0 | 0
[9 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
SYR31 | White Rock river branch exiting gravel bar | 5 | 1999-08-04 | 9:23 | 12:18 | 98 |  |  |  | 1 |  | 1 |  | 1 |  | 1 |  |  | 0 | 0 | 0
[9 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
[10 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | 0 | 0 | 0
[9 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
SYR32 | White Rock upper pool inlet | 5 | 1999-08-04 | 9:30 | 12:19 | 98 |  |  |  | 1 |  | 1 |  | 1 |  | 1 |  |  | 0 | 0 | 0
[9 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
[10 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | 0 | 0 | 0
[9 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
MC 33 | Rain over oak canopy into steel bowl | 5 | 2000-02-23 |  | 17:00 |  | 2/2/4/00 | 21:00 | 0 | 1 | 8 | 36 | 30 | 1 | 100 | 36 |  |  | 0 | 5760 | 72600
a | [8 empty] | ±% |  | ±% |  | ±% |  | ±% | 30 | ±%
[10 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | 0 | 0 | 0
[9 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
MC 34 | Rain in cistern from roof runoff | 5 | 2000-02-23 |  | 17:00 |  | 2/2/4/00 | 21:00 | 1 | 1 | 10 | 36 | 4 | 1 | 4 | 1 |  | 2 | 20 | 7220 | 160
b | [8 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
[9 empty] | 0 | 1 |  | 1 | 0 | 1 |  | 1 |  |  | 0 | 0 | 0
[9 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
MC 35 | Spring at high water | 2 | 2000-02-23 |  | 17:00 |  | 2/2/4/00 | 21:00 | 0 | 1 | 35 | 1 | 0 | 1 | 3 | 36 |  |  | 0 | 1750 | 5400
c | [8 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
[10 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | 0 | 0 | 0
[9 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
MC 36 | Creek at high water | 0.5 | 2000-02-23 |  | 17:00 |  | 2/2/4/00 | 21:00 | 1 | 1 | 34 | 9 | 1 | 1 | 15 | 1 |  |  | 200 | 61400 | 3200
d | [8 empty] | ±% |  | ±% |  | ±% | 1 | ±% | 30 | ±%
[10 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | 0 | 0 | 0
[9 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
MC 37 | Cistern from hose | 5 | 2000-02-23 |  | 17:00 |  | 2/2/4/00 | 21:00 | 0 | 1 |  | 1 | 0 | 1 |  | 1 |  |  | 0 | 0 | 0 | CL?
a | [8 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
[10 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | 0 | 0 | 0
[9 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
MC 38 | street runoff | 2 | 2000-02-23 |  | 17:00 |  | 2/2/4/00 | 21:00 | 1 | 1 | 13 | 36 | 0 | 1 | 100 | 1 |  |  | 50 | 23450 | 5000
b | [8 empty] | ±% | 1 | ±% |  | ±% |  | ±% | 30 | ±%
[10 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | 0 | 0 | 0
[9 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
MC 39 | tap water | 150 | 2000-02-23 |  | 17:00 |  | 2/2/4/00 | 21:00 | 0 | 1 | 0 | 1 | 0 | 1 | 0 | 1 |  |  | 0 | 0 | 0
[9 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
[10 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | 0 | 0 | 0
[9 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
MC 40 | B filtered in PUR filter | 150 | 2000-02-23 |  | 17:00 |  | 2/2/4/00 | 21:00 | 0 | 1 | 1 | 1 | 0 | 1 | 5 | 160 |  |  | 0 | 0.66667 | 533.3333
[9 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
[9 empty] | 22 | 1 | 10 | 1 |  | 1 | 5 | 160 |  |  | 14.6667 | 21.3333 | 533.3333
[9 empty] | ±% | 22 | ±% |  | ±% |  | ±% |  | ±%
MC 41 | Drinking rain | 150 | 2000-02-23 |  | 17:00 |  | 2/2/4/00 | 21:00 | 0 | 1 | 0 | 1 | 0 | 1 | 2 | 160 |  |  | 0 | 0 | 213.3333
[9 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
[10 empty] | 1 |  | 1 |  | 1 |  | 1 |  |  | 0 | 0 | 0
[9 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
SB23 | Fountain in Chase Palm Park at Garden Street | 100 | 1999-07-31 | 19:00 | 10:00 | 97 | 1999-08-02 | 10:00 | 0 | 1 | 0 | 1 | 0 | 1 | 2 | 1 |  |  | 0 | 0 | 2
[9 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
[7 empty] | 1999-08-04 | 1:30 |  | 1 |  | 1 | 1 | 1 | 3 | 1 |  |  | 0 | 0 | 4
[6 empty] | refrigerated |  |  | ±% |  | ±% |  | ±% |  | ±% |  | ±%
SB24 | Bathroom Sink Chase palm park | 413 | 1999-07-31 | 19:00 | 10:00 | 97 | 1999-08-02 | 10:00 | 0 | 1 | 0 | 1 | 0 | 1 | 1 | 1 |  |  | 0 | 0 | 0.24213
[9 empty] | ±% |  | ±% |  | ±% |  | ±% |  | ±%
[7 empty] | 1999-08-04 | 1:30 |  | 1 |  | 1 |  | 1 | 1 | 1 |  |  | 0 | 0 | 0.24213
[6 empty] | refrigerated |  |  | ±% |  | ±% |  | ±% |  | ±% |  | ±%
Codes
A | too numerous to get good count
B | Colonies very small
C | Difficult call
D | Easy call
E | whole plate pink; hard to differnentiate white & pink
r | refrigerated
f | frozen
G | on recount appeared to be blues

## EG-ColiformCalcs
Rincon Point Sewer Calculations Summary
|  |  | 79.2429 | Average Lagoon fecal coliform concentrations for all dates, mpn/100ml
| 0.067922 | oz | 1.9256 | amount of human fecal matter in lagoon in grams
| 130.5115 | lbs | 59200 | Grams feces introduced into septic tanks near the lagoon per day
|  |  | 100% | Minimum percentage effectiveness of septic tanks, assuming 100% of human feces in the lagoon ARE from septic tanks
|  |  | 100% | Postulated effectiveness of septic tanks if flow is reduced 80%
|  |  | 1 | Approximate number of tightly rolled disposal diapers required to contaminate entire lagoon to this level
|  |  | 519.3183 | Approximate number of days one person's bowel movement could comtaminate the lagoon to this level
|  |  | 30743.6415 | Number of days of maximum septic tank contamination equalled by one day of 100% raw sewage flow
|  |  | 84.2292 | Number of years of maximum septic tank contamination equalled by one day of 100% raw sewage flow
| 4033.609 | $/oz | 142.279 | Project cost in dollars per gram of feces removed
Rincon Point Sewer Calculations—Detail
|  | 1999-05-20 | 30.7 | Average Lagoon fecal coliform concentrations by date, mpn/100ml (from lower Rincon Creek watershed study by SB Co. Health and Heal the Ocean)
|  | 1999-05-24 | 60.6
2.5316 |  | 1999-05-25 | 35
|  | 1999-05-26 | 110
|  | 1999-05-27 | 102.4
|  | 1999-06-01 | 144
|  | 1999-06-04 | 72
|  | a | 79.2429 | Average Lagoon fecal coliform concentrations for all dates, mpn/100ml (calculated from data above)
|  | b | 20% | Percent of (a) which is human, based on matches from study. It was not clear if this extrapolates, but it seems like a reasonable number.
|  | c | 15.8486 | Average concentration of fecal coliforms of human origin mpn/100ml (a*b)
|  | d | 1 | Approximate conversion factor from fecal coliform mpn/100ml to parts per billion of feces (see assumptions below)
assumed:10 million coliforms per gram of wet feces (dog=23 million, human 13 million...)
assumed: 1000g feces/person/day (one source gave 1113g as the average daily production of feces)
|  | e | 15.8486 | Average concentration of fecal matter of human origin in ppb (same as mg/m3) (c*d))
32076 | gal | f | 121.5 | Approximate volume of lagoon in m3. It was approximately 60m long, 4.5 m wide and .5 m deep, average at the time of the study
|  | g | 1925.6014 | amount of human fecal matter in lagoon (mg) (f*g)
0.067922 | oz | h | 1.9256 | amount of human fecal matter in lagoon in grams (g/1000)
|  | i | 74 | Number of houses (from study)
|  | j | 4 | Average number of people per house (guess)
|  | k | 1000 | Daily feces production per person, grams (one source gave 1113g as the average daily production of feces)
|  | kk | 20% | Percentage of septic tank effluent which are closer to the lagoon than the ocean (guess)
130.5115 | lbs | l | 59200 | Grams feces introduced into septic tanks near the lagoon per day (i*j*k*kk)
Assumption: the lagoon water is changed each day by flow (this is highly variable)
|  | m | 0.003253% | Human feces in the lagoon as a percentage of human feces introduced to tanks per day (h/l)
|  | n | 100% | Minimum percentage effectiveness of septic tanks for preventing contaminated water from going into the lagoon, assuming 100% of human feces in the lagoon ARE from septic tanks
|  | o | 100% | Postulated effectiveness of septic tanks if flow is reduced 80% (n *1/90%)
|  | p | 1 | Approximate number of tightly rolled disposal diapers required to contaminate entire lagoon to this level
|  | q | 519.3183 | Approximate number of days one person's bowel movement could comtaminate the lagoon to this level
|  | s | 30743.6415 | Number of days of maximum septic tank contamination equalled by one day of 100% raw sewage flow (l/h)
|  | t | 84.2292 | Number of years of maximum septic tank contamination equalled by one day of 100% raw sewage flow (l/h)
|  | u | 3000000 | Cost of project in dollars
|  | v | 30 | Lifespan in years
|  | w | 21085.3356 | Maximum grams of feces kept out of the lagoon in thirty years h*365*30
4033.609 | $/oz | x | 142.279 | Dollars per gram u/w